## ResourceSupply
RESOURCE | DEPARTMENT | VALUE | INFORMANT
Nurses
Minimum number of nurses required to remain at the department during an MCI | Emergency Department | 3
| Operating Theater | 6
| High Dependency Unit | 10
| Medical/Surgical Department | 10
| Rest Of Hospital | 10
Total number of Registered Nurses per shift in case of an MCI | Entire Hospital | 50
Power
Fuel consumption in case of an MCI (all OTs are in use and all chillers on) [liters/hour] | Entire Hospital | 500
Current stock of fuel [liters] |  | 50000
Time from order to restocking fuel [hours] |  | 6
Expected received amount of fuel after restocking [liters] |  | 50000
Water
Water consumption in case of an MCI (all OTs are in use and all chilllers on) [liters/hour] | Entire Hospital | 0
Current amount of water in tanks [liters] |  | 100000000
Time from order to restocking water [hours] |  | 6
Expected received amount of water after restocking [liters] |  | 30000
Oxygen
Current amount of consumable oxygen supply available in the entire hospital in stock (portable cylinders and central stock) [liters] | Entire Hospital | 0
Max amount of oxygen that can be supplied by the centralized system [liters/hour] |  | 10000000
Time from order to restocking consumable oxygen supply [hours] |  | 6
Expected received amount of consumable oxygen after restocking [liters] |  | 1000000
Medical drugs
Number of non-walking patients that can be treated using the medical supplies in the MCI contigency stock at: | Emergency Department | 1000000
| Operating Theater | 1000000
| High Dependency Unit | 1000000
Number of walking patients that can be treated using the medical supplies in the MCI contigency stock | Entire Hospital | 1000000
Hours of autonomy of the pharmacy in case of an MCI not considering the contigency stock |  | 720
Time from order to restocking pharmacy [hours] |  | 24
Expected extended hours of pharmacy autonomy due to restocking [hours] |  | 96
Blood
Current stock of blood bags | Entire Hospital | 100000
Time to restock blood supply [hours] |  | 10
Expected received amount of blood bags after restocking (consider available blood giving sets) |  | 80
Beds
Number of equipped and staffed beds for resuscitation in ordinary times | Emergency Department | 37
Number of equipped and staffed beds for resuscitation in case of an MCI |  | 37
Time to setup additional equipped and staffed beds for resuscitation in case of an MCI [hours] |  | 1
Number of equipped and staffed beds in ordinary times | Operating Theater | 6
Number of equipped and staffed beds in case of an MCI |  | 6
Time to setup additional equipped and staffed beds in case of an MCI [hours] |  | 1
Number of equipped and staffed beds in ordinary times | High Dependency Unit | 50
Number of equipped and staffed beds in case of an MCI |  | 50
Time to setup additional equipped and staffed beds in case of an MCI [hours] |  | 0
Number of equipped and staffed beds in ordinary times | Medical/Surgical Department | 100
Number of equipped and staffed beds in case of an MCI |  | 100
Time to setup additional equipped and staffed beds in case of an MCI [hours] |  | 0
Number of equipped and staffed beds in ordinary times | Rest Of Hospital | 100
Number of equipped and staffed beds in case of an MCI |  | 100
Time to setup additional equipped and staffed beds in case of an MCI [hours] |  | 0
Number of functional stretchers | Entire Hospital | 100

## StressScenario
Stress Scenario Definition
Parameter | Value |  |  |  | Yes
Time Step Unit | hour |  |  |  | No
Stress Scenario Name | Test Scenario 2
Water Ordered | No
Fuel Ordered | No
Oxygen Ordered | No
Blood Ordered | No
MedicalDrugs Ordered | No
Number of patients
Time Step | Red | Yellow | Green | Blue
0 | 0 | 0 | 0 | 0
1 | 1 | 2 | 22 | 5 |  | 54
2 | 1 | 1 | 6 | 0
3 | 1 | 1 | 6 | 0
4 | 1 | 1 | 6 | 0
5 | 1 | 1 | 6 | 0
6 | 1 | 1 | 6 | 0
7 | 1 | 1 | 6 | 0
8 | 1 | 1 | 6 | 5
9 | 1 | 1 | 6 | 0
10 | 1 | 1 | 6 | 0
11 | 1 | 1 | 6 | 0
12 | 1 | 1 | 6 | 0
13 | 1 | 1 | 6 | 0
14 | 1 | 1 | 6 | 0
15 | 1 | 1 | 6 | 5
16 | 0 | 1 | 6 | 0
17 | 0 | 1 | 6 | 0
18 | 0 | 1 | 6 | 0
19 | 0 | 1 | 6 | 0
20 | 0 | 1 | 6 | 0

## PatientProfiles
Patient Type
Red | EmergencyDepartment |  | Data source |  |  |  | OperatingTheater |  | Data source |  |  |  | Medical/SurgicalDepartment |  | Data source
| Triage Category | Non-walking
| Baseline Length of Stay [hours] | 1 | Person X |  |  |  | Baseline Length of Stay [hours] | 2 |  |  |  |  | Baseline Length of Stay [hours] | 48
| Baseline Mortality Rate | 0.05 | Person Y |  |  |  | Baseline Mortality Rate | 0 |  |  |  |  | Baseline Mortality Rate | 0
| Resources | Amount Required |  | Consequence of Unmet Demand |  | Data source | Resources | Amount Required |  | Consequence of Unmet Demand |  | Data source | Resources | Amount Required |  | Consequence of Unmet Demand |  | Data source
| Nurse | 3 | ICRC standard | Mortality Rate Increase [per missing nurse] | 1.2 |  | Nurse | 1.5 |  | Mortality Rate Increase [per missing nurse] | 1.2 |  | Nurse | 0.1 |  | Mortality Rate Increase [per missing nurse] | 1.2
| Water [liters/hour] | 10 | Publication A | None |  |  | Water [liters/hour] | 30 |  | None |  |  | Water [liters/hour] | 10 |  | None
| Oxygen [liters/hour] | 720 | Expert opinion | Death In [hours] | 0 |  | Oxygen [liters/hour] | 720 |  | Death In [hours] | 0 |  | Oxygen [liters/hour] | 240 |  | None
| MCI kit | 1 | Person X | Death In [hours] | 1 |  | MCI kit | 0 |  | Death In [hours] | 1 |  | MCI kit | 0 |  | None
| Bed | 1 | Person X | Death In [hours] | 0 |  | Bed | 1 |  | Death In [hours] | 0 |  | Bed | 1 |  | None
| Blood | 3 | Person X | Death In [hours] | 1 |  | Blood | 4 |  | Death In [hours] | 1 |  | Blood | 0 |  | None
| Stretcher to transport patient to the department | 1 |  | Death In [hours] | 0 |  | Stretcher to transport patient to the department | 1 |  | Death In [hours] | 0 |  | Stretcher to transport patient to the department | 1 |  | None | 0
| Medical Drugs | 0 | Person X | None |  |  | Medical Drugs | 0 |  | None |  |  | Medical Drugs | 1 |  | None
Yellow | EmergencyDepartment |  | Data source |  |  |  | OperatingTheater |  | Data source |  |  |  | HighDependencyUnit |  | Data source |  |  |  | Medical/SurgicalDepartment |  | Data source
| Triage Category | Non-walking
| Baseline Length of Stay [hours] | 1 |  |  |  |  | Baseline Length of Stay [hours] | 2 |  |  |  |  | Baseline Length of Stay [hours] | 12 |  |  |  |  | Baseline Length of Stay [hours] | 48
| Baseline Mortality Rate | 0.05 |  |  |  |  | Baseline Mortality Rate | 0 |  |  |  |  | Baseline Mortality Rate | 0.01 |  |  |  |  | Baseline Mortality Rate | 0
| Resources | Amount Required |  | Consequence of Unmet Demand |  | Data source | Resources | Amount Required |  | Consequence of Unmet Demand |  | Data source | Resources | Amount Required |  | Consequence of Unmet Demand |  | Data source | Resources | Amount Required |  | Consequence of Unmet Demand |  | Data source
| Nurse | 3 |  | Length Of Stay Extended [per missing nurse] | 1.2 |  | Nurse | 1.5 |  | Mortality Rate Increase [per missing nurse] | 1.2 |  | Nurse | 2 |  | Mortality Rate Increase [per missing nurse] | 1.2 |  | Nurse | 0.1 |  | Mortality Rate Increase [per missing nurse] | 1.2
| Water [liters/hour] | 10 |  | None |  |  | Water [liters/hour] | 30 |  | None |  |  | Water [liters/hour] | 30 |  | None |  |  | Water [liters/hour] | 10 |  | None
| Oxygen [liters/hour] | 720 |  | Death In [hours] | 0 |  | Oxygen [liters/hour] | 720 |  | Death In [hours] | 0 |  | Oxygen [liters/hour] | 720 |  | Death In [hours] | 0 |  | Oxygen [liters/hour] | 240 |  | None
| MCI kit | 1 |  | Death In [hours] | 1 |  | MCI kit | 0 |  | Death In [hours] | 1 |  | MCI kit | 0 |  | None |  |  | MCI kit | 0 |  | None
| Bed | 1 |  | Mortality Rate Increase | 1.5 |  | Bed | 1 |  | Death In [hours] | 0 |  | Bed | 1 |  | Death In [hours] | 0 |  | Bed | 1 |  | None
| Blood | 3 |  | Death In [hours] | 1 |  | Blood | 4 |  | Death In [hours] | 1 |  | Blood | 0 |  | Death In [hours] | 1 |  | Blood | 0 |  | None
| Stretcher to transport patient to the department | 1 |  | Death In [hours] | 4 |  | Stretcher to transport patient to the department | 1 |  | Death In [hours] | 4 |  | Stretcher to transport patient to the department | 1 |  | None | 0 |  | Stretcher to transport patient to the department | 1 |  | None | 0
| Medical Drugs | 0 |  | None |  |  | Medical Drugs | 0 |  | None |  |  | Medical Drugs | 1 |  | Length Of Stay Extended | 1.5 |  | Medical Drugs | 0 |  | None
Green | EmergencyDepartment |  | Data source
| Triage Category | Walking
| Baseline Length of Stay [hours] | 1
| Baseline Mortality Rate | 0
| Resources | Amount Required |  | Consequence of Unmet Demand |  | Data source
| Nurse | 0.05 |  | Length Of Stay Extended [per missing nurse]
| Water | 0 |  | None
| Oxygen | 0 |  | None
| MCI kit | 0.05 |  | None
| Bed | 0 |  | None
| Blood | 0 |  | None
| Stretcher to transport patient to the department | 0 |  | None | 0
| Medical Drugs | 0 |  | None
Blue | Medical/SurgicalDepartment |  | Data source
| Triage Category | Non-walking
| Baseline Length of Stay [hours] | 500
| Baseline Mortality Rate | 0
| Resources | Amount Required |  | Consequence of Unmet Demand |  | Data source
| Nurse | 0.1 |  | Mortality Rate Increase [per missing nurse] | 1.2
| Water [liters/hour] | 10 |  | None
| Oxygen [liters/hour] | 240 |  | None
| MCI kit | 0 |  | None
| Bed | 1 |  | None
| Blood | 0 |  | None
| Stretcher to transport patient to the department | 0 |  | None | 0
| Medical Drugs | 0 |  | None